## Sheet1
Bear River below Combie Dam
Estimated Range of Annual Acquisition Costs of Alternative Flow Improvement Scenarios | [8 empty] | direct | direct
[7 empty] | 6 month | AF | surplus | surplus | SSWD | SSWD
Release below Combie | Jun | Jul | Aug | Sep | Oct | Nov | sum/avg | increase | purchase | purchase | re-route | fallowing | resell?
Current
CFS (min) | 5 | 5 | 5 | 5 | 5 | 5 | 5
AF (min) | 300 | 300 | 300 | 300 | 300 | 300 | 1800 | 0 | PCWA | SSWD-1 | PG&E | SSWD-2 | EWA
Improved A | [8 empty] | 3.14 | 18.5 | 44.4 | 60 | 85
CFS | 25 | 10 | 10 | 10 | 25 | 50 | 21.6667
AF | 1500 | 600 | 600 | 600 | 1500 | 3000 | 7800 | 6000 | 18840 | 111000 | 266400 | 360000 | 510000
Improved B
CFS | 50 | 25 | 25 | 25 | 85 | 25 | 39.1667
AF | 3000 | 1500 | 1500 | 1500 | 5100 | 1500 | 14100 | 12300 | 38622 | 227550 | 546120 | 738000 | 1045500
Improved C
CFS | 50 | 10 | 10 | 10 | 175 | 250 | 84.1667
AF | 3000 | 600 | 600 | 600 | 10500 | 15000 | 30300 | 28500 | 89490 | 527250 | 1265400 | 1710000 | 2422500
Release blw NCFW
CDFG 1991
Unimpaired (cfs) | 101 | 33 | 16 | 16 | 81 | 269
Impaired (cfs) | 45 | 17 | 15 | 14 | 17 | 159
Recommended (cfs) | 100 | 10 | 10 | 10 | 100/250 | 250
Increase (cfs) | 55 | 0 | 0 | 0 | 83/233 | 91
AF low | 3300 | 0 | 0 | 0 | 4980 | 5460 | 13740 |  | 43143.6 | 254190 | 610056 | 824400 | 1167900
AF high | 3300 | 0 | 0 | 0 | 13980 | 5460 | 22740 |  | 71403.6 | 420690 | 1009656 | 1364400 | 1932900
Max temp (F) | 60 | 65 | 65 | 65 | 60/56 | 56
$/AF assumptions
NOTES
PCWA: price paid to PG&E for PCWA's Bear Canal diversions above the Wise PH
SSWD-1: price charged by NID to SSWD for surplus deliveries in excess of 5,000 AF/year
PG&E: cost of forgone hydropower along Bear River Canal, calculated as follows:
| kWh/AF | $/kWh | $/AF
Halsey | Jun: 270
Wise 1 | Jun: 390
Wise 2 | Jun: 450
| 1110 | 0.04 | 44.4
kWh/AF values per PG&E, November 2000 Hydrodivestiture Draft EIR, page C.2-23
SSWD-2: assumed annual minimum of $60/AF based on IID fallowing program sign-up costs 2003-04
Note: flow improvements via SSWD fallowing would be combined with other strategies to address Hg and temperature problems in the middle and lower reaches incl. NCFW Reservoir
EWA: CDWR cost of water purchased from YCWA, 2004